

**DEPARTMENT: PUBLIC ENTERPRISES**

**REPUBLIC OF SOUTH AFRICA**

**NATIONAL ASSEMBLY**

**QUESTION FOR WRITTEN REPLY**

**QUESTION NO.: PQ 2666**

**DATE OF PUBLICATION: 25 NOVEMBER 2016**

Mr P van Dalen (DA) to ask the Minister of Public Enterprises: Whether she will furnish Mr P van Dalen with copies of Eskom’s week on week energy availability factor, demand and energy reports since 1 January 2016; if not, why not; if so, by what date?  NW3150E

**REPLY:**

Herewith is the requested information:

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **WEEK START**  **DATE** | **EAF (%)** | **Weekly System Peak Demand (MW)**  **Including IOS** | **Weekly System Peak Demand (MW) Including IOS & IPP's** | **Weekly System Energy (MWh) Including IOS** | **Weekly System Energy (MWh) Including IOS & IPP's** |
| 2016/01/04 00:00 | 71.86 | 28531 | 30090 | 4 174 029 | 4 379 957 |
| 2016/01/11 00:00 | 71.72 | 29808 | 30551 | 4 366 433 | 4 536 181 |
| 2016/01/18 00:00 | 72.66 | 30408 | 31166 | 4 444 243 | 4 588 116 |
| 2016/01/25 00:00 | 72.36 | 29953 | 30851 | 4 373 779 | 4 575 471 |
| 2016/02/01 00:00 | 73.48 | 30534 | 31475 | 4 377 616 | 4 595 062 |
| 2016/02/08 00:00 | 73.83 | 30490 | 31466 | 4 447 442 | 4 642 052 |
| 2016/02/15 00:00 | 74.20 | 30254 | 31316 | 4 421 569 | 4 619 527 |
| 2016/02/22 00:00 | 76.54 | 30942 | 31876 | 4 439 988 | 4 632 660 |
| 2016/02/29 00:00 | 77.29 | 30607 | 31654 | 4 396 548 | 4 596 759 |
| 2016/03/07 00:00 | 72.98 | 30604 | 31699 | 4 367 156 | 4 577 630 |
| 2016/03/14 00:00 | 74.36 | 31022 | 31984 | 4 383 798 | 4 557 577 |
| 2016/03/21 00:00 | 73.49 | 29662 | 30705 | 4 048 077 | 4 242 914 |
| 2016/03/28 00:00 | 73.57 | 30431 | 31393 | 4 222 967 | 4 426 056 |
| 2016/04/04 00:00 | 74.84 | 32095 | 33194 | 4 325 270 | 4 527 750 |
| 2016/04/11 00:00 | 75.96 | 31401 | 32330 | 4 337 243 | 4 542 074 |
| 2016/04/18 00:00 | 76.41 | 32077 | 32752 | 4 357 402 | 4 544 637 |
| 2016/04/25 00:00 | 76.16 | 30495 | 31749 | 4 196 797 | 4 414 522 |
| 2016/05/02 00:00 | 77.13 | 31698 | 32645 | 4 255 040 | 4 460 191 |
| **WEEK STARTDATE** | **EAF (%)** | **Weekly System Peak Demand (MW) Including IOS** | **Weekly System Peak Demand (MW) Including IOS & IPP's** | **Weekly System System Energy (MWh) Including IOS** | **Weekly System System Energy (MWh) Including IOS & IPP's** |
| 2016/05/09 00:00 | 77.89 | 33126 | 33993 | 4 433 338 | 4 595 217 |
| 2016/05/16 00:00 | 79.07 | 33318 | 34172 | 4 426 802 | 4 624 752 |
| 2016/05/23 00:00 | 80.22 | 33742 | 34533 | 4 486 352 | 4 673 142 |
| 2016/05/30 00:00 | 80.76 | 34134 | 34913 | 4 518 664 | 4 683 653 |
| 2016/06/06 00:00 | 80.99 | 33738 | 34171 | 4 525 477 | 4 672 101 |
| 2016/06/13 00:00 | 80.14 | 33884 | 34679 | 4 510 004 | 4 669 556 |
| 2016/06/20 00:00 | 80.66 | 34075 | 34329 | 4 549 648 | 4 674 224 |
| 2016/06/27 00:00 | 81.91 | 33986 | 34415 | 4 534 536 | 4 694 288 |
| 2016/07/04 00:00 | 80.38 | 34470 | 34821 | 4 585 635 | 4 738 698 |
| 2016/07/11 00:00 | 79.91 | 34023 | 34523 | 4 542 159 | 4 703 847 |
| 2016/07/18 00:00 | 80.51 | 34215 | 34742 | 4 504 107 | 4 672 753 |
| 2016/07/25 00:00 | 81.95 | 34197 | 34886 | 4 592 703 | 4 757 914 |
| 2016/08/01 00:00 | 79.88 | 34239 | 34707 | 4 465 760 | 4 632 796 |
| 2016/08/08 00:00 | 78.95 | 33027 | 33455 | 4 348 841 | 4 520 367 |
| 2016/08/15 00:00 | 77.87 | 32324 | 32977 | 4 391 797 | 4 557 565 |
| 2016/08/22 00:00 | 76.24 | 33016 | 33694 | 4 312 300 | 4 513 400 |
| 2016/08/29 00:00 | 77.21 | 30950 | 31957 | 4 230 939 | 4 464 099 |
| 2016/09/05 00:00 | 75.59 | 31383 | 32293 | 4 338 801 | 4 570 880 |
| 2016/09/12 00:00 | 78.56 | 31915 | 32986 | 4 384 392 | 4 648 366 |
| 2016/09/19 00:00 | 76.29 | 32005 | 32914 | 4 366 970 | 4 621 655 |
| 2016/09/26 00:00 | 76.06 | 30589 | 32012 | 4 242 442 | 4 522 398 |
| 2016/10/03 00:00 | 72.84 | 30743 | 31692 | 4 296 692 | 4 561 854 |
| 2016/10/10 00:00 | 77.73 | 31253 | 32172 | 4 361 792 | 4 611 242 |
| 2016/10/17 00:00 | 75.45 | 31413 | 32471 | 4 417 529 | 4 644 664 |
| 2016/10/24 00:00 | 75.44 | 30296 | 31767 | 4 349 636 | 4 610 456 |
| 2016/10/31 00:00 | 74.83 | 30520 | 31909 | 4 349 349 | 4 610 022 |
| 2016/11/07 00:00 | 74.81 | 30404 | 31606 | 4 303 359 | 4 595 709 |
| 2016/11/14 00:00 | 75.20 | 30008 | 31419 | 4 283 228 | 4 560 171 |