## Slide 1
PRESENTATION TITLE
Presented by:
Name Surname
Directorate
Date
LIMPOPO MUNICIPAL PERFORMANCE
Presented by:
Acting Director-General
Date: 03 March 2020

## Slide 2: Contents
Purpose ……………………………………………………… 3
Part A: Municipal performance as per regulatory evaluation………………………………………………..4-14
Part B: Status of Water Services Technical Reports – MIG Monthly Reporting as at February 2020………………15-17
Part C: Grant spending trend on transfers from 2017/18 to 2019/20…………………………………………………..18-22
LIMPOPO MUNICIPAL PERFORMANCE

## Slide 3: Purpose
To brief the Portfolio Committee on the Limpopo:
municipal performance as per regulatory evaluation;
status of water services technical reports – MIG Monthly Reporting as at February 2020;
grant spending trend on transfers from 2017/18 to 2019/20

## Slide 4: Part A: municipal performance as per regulatory evaluation

## Slide 5: Limpopo municipal WWTW status
WSA | Number of WWTW | Design Capacity (Ml/d) | Average Inflow (Ml/d) | Performance (%) | Number of WWTW Authorised
Polokwane LM | 3 | 43.6 | 49.0 | 112% | 1
Capricorn DM | 5 | 3.0 | 7.0 | 233% | 0
Sekhukhune DM | 17 | 21.7 | 14.7 | 68% | 4
Mopani DM | 9 | 37.3 | 14.3 | 68% | 1
Vhembe DM | 12 | 40.0 | 28,5 | 71% | 4
Mogalakwena LM | 2 | 9.8 | 11.0 | 112% | 1
Modimolle/ Mookgophong LM | 4 | 12.5 | 8.5 | 68% | 3
Bela Bela LM | 3 | 6.0 | 6.3 | 105% | 2
Thabazimbi LM | 3 | 10.5 | 8.3 | 79% | 2
Lephalale LM | 3 | 14.0 | 11.7 | 84% | 2
Total (10) | 61 | 198.4 | 159.3 | 80% | 20

## Slide 6: Regulation 2834
6

## Slide 7: Process Controller (PC) status
WSA | Number of WWTW | Available PC | Required PC
Polokwane LM | 3 | 6 (2 Class III, 1 Class IV & 3 Class V) | 12 (8 Class III & 4 Class IV)
Capricorn DM | 5 | 16 (2 Class II, 4 Class III, 6 Class IV & 4 Class V ) | 13 (6 Class I , 3 Class II 4 Class III)
Sekhukhune DM | 17 | 20 (5 Class 0, 2 Class 1, 6 Class III, 4 Class IV & 3 Class V 5) | 41 (14 Class I , 17 Class II, 7 Class III, 2 Class IV & 4 Class V )
Mopani DM | 9 | 39 (14 learners, 6 Class II, 7 Class III, 9 Class IV & 14 Class V) | 35 (16 Class I, 10 Class II & 9 Class III)
Vhembe DM | 12 | 38 (4 Learners, 2 Class II, 1 Class III, 8 Class IV & 14 Class V) | 40 (15 Class I, 10 Class II, 12 Class III, 3 Class IV & 0 Class V)
7

## Slide 8: Process Controller (PC) status
WSA | Number of WWTW | Available PC | Required PC
Mogalakwena LM | 2 | 4 Class IV | 17 (8 Class I, 4 Class II & 4 Class III)
Modimolle/ Mookgophong LM | 4 | 4 (1 Class I,1 Class II & 2 Class IV) | 27 (10 Class I, 7 Class II, 8 Class III & 2 Class IV )
Bela Bela LM | 3 | 4 (2 Class II, 1 Class IV & 1 Class V) | 13 (6 Class I, 4 Class II and 3 Class III)
Thabazimbi LM | 3 | 5 (2 Class I, & 3 Class II) | 15 (6 Class I, 3 Class II, 4 Class III, 2 Class IV & 1 Class V)
Lephalale LM | 3 | 2 Class V | 18 (6 Class I, 4 Class II, 4 Class III & 2 Class IV)
Total (10 WSAs) | 61 | 138 | 231
8

## Slide 9: WASTEWATER QUALITY COMPLIANCE

## Slide 10
10

## Slide 11: Limpopo wastewater quality compliance
Belabela has 3 systems, only Warmbath is monitored
Capricorn comprises of 5 systems which are monitored, however Mogwadi and Senwabarwana need urgent attention.
Greater Sekhukhune has 17 systems, which there are inconstantly monitored.
Lephalale has 3 systems and only Paarl WWTW is monitored.
Modimolle / Mookgophong has 4 systems and only Thusang Ponds is inconstantly monitored.
Mogalakwena has 2 system only Rebone ponds was inconstantly monitored.
Mopani, there 9 systems that are all monitored and some data is not complying to Standards.
Polokwane, 3 systems being monitored but some data is complying.
Thabazimbi, there are 3 systems which are inconstantly monitored and not complying with standard.
Vhembe , 12 systems that are all monitored and some data is not complying to Standards.

## Slide 12: Intervention to ensure compliance
Name of WSA/Institutions | WWTW Issued with notices | WWTW Issued with Directives
Vhembe DM | Vleifontein, Waterval, Elim Orbal, Malamulele and Makhado Louis Trichardt | Elim
Polokwane LM | Polokwane, Seshego and Mankweng | 
Lephalale LM one | Marapong/ Zongesien | Paarl, Marapong/ Zongesien
Modimolle-Mookgophong LM | Vaalwater, Modimolle and Mookgophong | Vaalwater, Modimole sewage spillages, Mookgopong R101 pumpstation
Mogalakwena LM | Sekgakgapeng, Masehlaneng, Radium | 
Capricorn DM | Alldays, Senwanabarwana, Mogwadi) | 
Modimolle-Mookgophong LM | Court order | 

## Slide 13: Challenges
WWTWs are overloaded (they are due for upgrade)
Partially treated effluent – poor process controlling
Poor sludge management
Process controllers and maintenance team are not complying with NWA Regulation 813
Poor Operation & Maintenance.
Limited access to waste water treatment works
The Waste Water Risk Abatement Plan are not reviewed and implemented
Non uploading of effluent quality results on the IRIS of a monthly basis
Non responsive to issued notices and directives

## Slide 14: Proposed solutions
WSA to :
Conduct Process Audit
Develop Improvement Plans
Align Planning for Settlements and Towns, water supply with wastewater treatment works.
Develop and Implement water quality management plans
Application for Water Use Licence

## Slide 15: Part b: Status of Water Services Technical Reports – MIG Monthly Reporting as at February 2020

## Slide 16: Planning on MIG Technical Reports
Non-compliance with DoRA MIG MTEF Schedule
Poor quality of technical reports (information gaps)
Lack of Integrated planning-
  Incomplete WSDPs
  Unplanned projects- no feasibility studies
Non compliance with the TR / Guidelines / Format
Technical Reports submitted to DWS by PSPs
Incomplete / abandoned funded projects
Implementing unregistered projects
1 out of 10 WSA’s have approved WSDP (Capricorn)

## Slide 17: Considerations
WSAs should:-
Commit to comply with DoRA MIG MTEF schedule
Improve on water services planning
  Review & adopt WSDPS in 2014/15 onwards
  Conduct feasibility studies to inform tech reports
Appoint Professional Engineers for water services planning
Effect final PSP payment after delivering recommended TR, etc.
Adhere to the Technical Reports guidelines / format
Always submit TR with duly signed Municipal covering letter
Complete funded projects
Register project before implementation

## Slide 18: Part C: Grant spending trend on transfers from 2017/18 to 2019/20

## Slide 19: Regional bulk infrastructure grant
Financial year | Municipality | Revised Budget Allocations | Budget Transferred | Actual Expenditures | % Spent | Unspent Funds
2017/18 | Polokwane | 180 159 | 180 159 | 63 540 | 35% | 116 619
2018/19 | Polokwane | 370 505 | 370 505 | 370 505 | 100% | 0
2019/20 | Polokwane | 630 998 | 346 346 | 161 856 | 46% | 184 490
Total |  | 2 181 662 | 897 010 | 595 901 | 66.4% | 301 109

## Slide 20: Water services infrastructure grant 2017/18
Municipality | Revised Budget Allocations | Budget Transferred | Actual Expenditures | % Spent | Unspent Funds
Mopani DM | 95 000 | 95 000 | 58 161 | 61 | 0
Vhembe DM | 32 478 | 32 478 | 34 070 | 100 | 0
Capricorn DM | 90 000 | 90 000 | 90 000 | 100 | 0
Thabazimbi | 20 000 | 0 | 0 | 0 | 0
Lephalale | 50 000 | 50 000 | 45 871 | 91,7 | 4 129
Bela Bela | 35 000 | 35 000 | 35 000 | 100 | 0
Mogalakwena | 50 000 | 50 000 | 50 000 | 100 | 0
LIM368 | 80 000 | 80 000 | 15 422 | 0 | 64 578
Fetakgomo | 0 | 90 013 | 66 700 | 74 | 23 313
Sekhukhune DM | 95 000 | 95 000 | 67 659 | 71 | 27 341
Sub-Total | 527 478 | 527 478 | 396 638 | 75 | 130 840

## Slide 21: Water services infrastructure grant 2018/19
Municipality | Revised Budget Allocations | Budget Transferred | Actual Expenditures | % Spent | Unspent Funds
Mopani DM | 107 000 | 107 000 | 107 000 | 100 | 0
Vhembe DM | 45 000 | 45 000 | 41 623 | 92 | 3 377
Capricorn DM | 148 000 | 148 000 | 134 638 | 91 | 13 363
Thabazimbi | 26 000 | 26 000 | 13 000 | 50 | 13 000
Lephalale | 24 500 | 24 500 | 4 150 | 17 | 20 350
Bela-Bela | 45 500 | 45 500 | 38 895 | 85 | 6 605
Mogalakwena | 52 975 | 52 975 | 39 705 | 75 | 13 270
LIM 368 | 25 000 | 25 000 | 23 698 | 95 | 1 302
Sekhukhune DM | 65 000 | 65 000 | 26 180 | 40 | 38 820
Sub-Total | 643 475 | 643 475 | 428 889 | 67 | 214 586

## Slide 22: Water services infrastructure grant 2019/20
Municipality | Revised Budget Allocations | Budget Transferred | Actual Expenditures | % Spent | Unspent Funds
Mopani DM | 40 000 | 0 | 0 | 0 | 0
Vhembe DM | 50 000 | 35 000 | 0 | 0 | 35 000
Polokwane | 96 650 | 77 655 | 10 170 | 13 | 67 485
Capricorn DM | 105 000 | 75 000 | 22 026 | 29 | 52 974
Lephalale | 40 000 | 30 000 | 0 | 0 | 30 000
Bela-Bela | 45 000 | 35 000 | 2 294 | 7 | 32 706
Mogalakwena | 60 000 | 45 000 | 7 136 | 16 | 37 864
Sekhukhune DM | 70 000 | 20 000 | 0 | 0 | 20 000
Total | 506 650 | 317 655 | 41 626 | 65 | 276 029
The expenditure by municipalities is slow, it will pick up during last quarter of the municipal financial year

## Slide 23
END