**2166. Mr D America (DA) to ask the Minister of Labour: (IES)**

**Whether the specified inspection at the Sebenza Police Station was conducted since her reply to question 1436 on 24 May 2016;**

if not, why not;

if so, what were the findings of the specified investigation? NW2486E

A Department of Labour Inspector visited Sebenza Police Station at 64 Mopedi Road, Sebenza, to conduct an inspection and the following was observed: the toilet facilities were in good order, General condition of offices were acceptable, electrical installation did not have exposed wires. It was however found that: there is no first aid box/kit and no competent person to administer first aid; the fire fighting equipment are not serviced; copy of the act (Occupational Health and Safety Act) was not accessible to staff and the user of the premises failed to provide certificate of compliance for electrical installation. A contravention notice was issued to the employer.