NATIONAL ASSEMBLY

WRITTEN REPLY

QUESTION NUMBER:

2721 [NO. NW3235E]

31 of 2021

03 DECEMBER 2021

30 DECEMBER 2021

INTERNAL QUESTION PAPER NO.:

DATE OF PUBLICATION:

DATE OF REPLY:

2721 Ms S J Graham (DA) asked the Minister of Public Works and Infrastructure:

With reference to the management of water provision to the town of Hoedspruit from

the Air Force Base Hoedspruit, what (a) is being done to repair the Essex Water

Pipeline that was damaged three years ago and is still not functional, (b) progress has

been made to transfer the function of water provision to the Mopani District

Municipality and (c) measures are in place to ensure that early warning systems are

effective in preventing the complete depletion of the reservoir which results in the town

being without water?

NW3235E

_______________________________________________________________________________

REPLY:

The Minister of Public Works and Infrastructure

a) I have been informed by the Department that the Department appointed an

Engineering Service Provider to conduct tests at the ESSEX pump station. The testing

included the inspection of electrical, mechanical and system integration. The testing

revealed that some elements needed to be replaced and a service provider was

appointed but could not perform according to the specifications and left the site. The

Department is, now, in the process of appointing a new service provider. The

NATIONAL ASSEMBLY QUESTION NO. 2721 (Written) Ms S J Graham (DA)

PAGE 1

appointment should be completed before the end of February 2022. It must be noted

that one pump is running while the other is overheating and needs to be replaced.

b) The contract between Blyde River water utility and the Department of Public Works &

Infrastructure expires in February 2024 and a multi-stakeholder forum has been

established to ensure the smooth transfer in 2024. The Department of Water and

Sanitation (DWS), Department of Public Works and Infrastructure, Municipal

Infrastructure Support Agency (MISA), Maruleng Local Municipality and Mopani

District Municipality are active stakeholders in this forum. The Forum is meant to deal

with, amongst others, the water issues at Hoedspruit; the transfer of the pipeline to

Department of Water and Sanitation as per the contract between Department of Public

Works and Infrastructure and the Water Utility; and the provision of land by the Mopani

District Municipality to DPWI, for a feasibility study. The plan discussed by the forum

is aimed at aligning the transfer with the capacity of the Mopani District Municipality to

provide bulk water supply to the community in 2024. The next meeting of the forum is

planned to take place before March 2022. This will be preceded by the technical team

which includes the IGR, DWS and DPWI to engage the new Council and assessing

the capacity of the incoming water authority to continue with previous commitments

made.

c) It must be noted that it is not the responsibility of DPWI to provide Hoedspruit town

with water. It is by default that these services were provided by DPWI. It is the

responsibility of the Mopani District Municipality and Maruleng Municipality to provide

water services. DPWI is not paid for these services. The Hoedspruit town receives

water directly from the DPWI treated water reservoir which was intended to supply the

Hoedspruit Air Force Base.

It is not possible to put proper warning systems in place as the consumption from the

town is not controlled. DPWI recently established that two estates have constructed

their own massive reservoirs with booster pumps connected to the municipal supply

piping and sometime they draw water during the night. DPWI requested the

municipality to manage its water consumption and that of all estates with massive

private reservoirs. All these challenges will be addressed once the municipality takes

over the pipeline.

NATIONAL ASSEMBLY QUESTION NO. 2721 (Written) Ms S J Graham (DA)

PAGE 2

.

NATIONAL ASSEMBLY QUESTION NO. 2721 (Written) Ms S J Graham (DA)

PAGE 3