# NATIONAL ASSEMBLY

**FOR WRITTEN REPLY**

**QUESTION NO. 3342**

**DATE OF PUBLICATION IN INTERNAL QUESTION PAPER: 27 OCTOBER 2017**

**(INTERNAL QUESTION PAPER NO. 39)**

**Ms N V Mente (EFF) to ask the Minister of Health:**

(a) What total number of medical equipment items does the Tshilidzini Hospital have, (b) what is the (i) category, (ii) date of purchase and (iii) purchase price of each item of medical equipment and (c) what number of medical equipment items are not in use because they are dysfunctional or lack service?

###### NW3732E

**REPLY:**

The following tables reflect the details in this regard:

| **Ward**  | **Type of equipment** | **No. of equipment**  | **No. of equipment functioning** | **No. of equipment not functioning** | **No for repair** | **No for service** | **Purchase Price (each)** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| OPD | Patient monitor | 09 | 3 | 6 | 6 | 7 | R60 200-00  |
| ECG machine | 1 | - | 1 | 1 | 1 | R99 997.22 |
| Sonar machine | 2 | - | 2 | 2 | 2 | R300 000-00  |
| Sitting scale | 2 | - | 2 | 2 | 2 | R5 500-00 |
| Standing scale | 2 | 2 | - | - | 2 | R3 444.00 |
| Bathroom scale | - | - | - | - | - | R3 552.50 |
| Baby scale | 1 | 1 | - | - | 1 | R2 394.00 |
| Mobile/manual BP machine | - | - | - | - | - | R689,70 |
| Casualty  | Patient monitor | 17 | 1 |  | 16 | 17 | R60 200-00  |
| Ventilator  | 2 | 1 |  | 1 | 2 | R172 000-00 |
| Blood gas machine | 1 | - | - | 1 | 1 | Cost not verified |
| ISTAT machine | 2 | - | - | - | - | No cartridge |
| Sitting scale | 1 | - |  | 1 | 1 | R5 500-00 |
| Standing scale | 1 | 1 | - | 1 | 1 | R3 444.00Repair height rod |
| Baby scale | 1 | 1 | - | - | 1 | R2 394.00 |
| Manual BP machine | 2 | - | - | 2 | 2 | R1 600.00  |
| HB meter | 1 | - | - | - | - | R4 967.68 |
| Resuscitation beds | 4 | 0 | - | 4 | 4 | Cost not verified |
| POP bed | . | . | . | . | . | One needed |
| EYE and Transfer | Wall ophthalmoscope | 1 | 1 | - | - | - | - |
| Manual Baunometer | 2 | 2 | - | - | - | R1 600.00  |
| Pen torch | 3 | 3 | - | - | - | Cost not verified |
|  | New slit lamp | 1 | - | 1 | - | - | Cost not verified |
| Old slit lamp | 1 | - | 1 |  |  | Cost not verified |
| Old handheld ophthalmoscope | 1 | - | 1 | - | - | Cost not verified |
| Paediatric medical | Monitors  | 10 | 3 |  | 7 | 10 | R60 200-00  |
| Pulse Oximeter | 3 | - | - | - | 1 | R6 467.03 |
| Data scope Accutur plus | 2 | - | - | 2 | 2 | R68 000  |
| Infusion pump Agalia | 3 | 3 | - | - | 3 | R8 908.96 |
| Infusion pump Infusamat | 3 | - | - | 3 | 3 | R36 736.50  |
| Syringe pump | 3 | 3 | - | - | 3 | R23 683.80  |
| Electric suction machine | 3 | 2 | - | 1 | 3 | R6 384.00  |
| Defibrillator | 1 | 1 | - | - | 1 | R81 827.60 |
| Manual BP Apparatus | 2 | 1 | - | 1 | 1 | R1 600.00 |
| Baby scale | 3 | 1 | - | 2 | 3 | R2 394.00 |
| ENT set | 1 | 1 | - | - | 1 | R1 200 |
| Standing scale | 2 | 2 | - | - | 2 | R3 444.00 |
| Paediatric surgical  | Monitors  | 3 | 1 | - | - | 2 | R60 200-00  |
| Pulse oximeter | 1 | - | - | - | - | R6 467.03 |
|  | Suction apparatus electric | 2 | 1 | - | - | 1 | R6 384.00  |
| Data scope accutur | 1 | - | - | 1 | 1 | Cost not verified |
| HB meter | 1 | 1 | - | - | 1 | R4 967.68 |
| Baby scale | 1 | 1 | - | - | 1 | R2 394.00 |
| Sitting scale | 1 | - | - | 1 | 1 | R5 500-00 |
| Standing scale | 1 | 1 | - | - | 1 | R3 444.00 |
| BP apparatus manual | 3 | 2 | - | 1 | 3 | R1 600.00  |
| Agalia infusion | 2 | 2 | - | - | 2 | R8 908.96 |
| Infusamat pump | 2 | 1 | - | 1 | 2 | R36 736.50  |
| Medical Ward | Suction machine | 4 | 2 | 2 | - | - | R6 384.00 |
| Patient monitor  | 4 | 2 | 2 |  | 1 | R60 200-00  |
| Defibrillator  | 2 | 1 | 1 | - | 1 | R81 827.60 |
| Pulse Oxymeter  | 1 | - | 1 | - | - | R6467.03 |
| Ripple mattrass | 2 | - | 2 | - | - | R18 950-90  |
| Female medical | Patient monitor | 5 | 2 | 3 | - | 1 | R60 200-00  |
| Data scope accutur plus | 2 |  | 2 |  | 2 | Cost not verified |
| Electric suction machine | 2 | 2 | - | - | 2 | R6 384.00 |
|  | Pulse oxymeter | 1 | 1 | - | - | - | R6 467.03 |
| Infusion pump Agalia | 1 | 1 | - | - | 1 | R8 908.96 |
| Defibrillator  | 1 | 1 | - | - | 1 | R81 827.60 |
| ECG machine | 1 | 1 | - | - | 1 | R99 997.22 |
| SUB-ACUTE  | Monitor | 2 | 1 | 1 | 1 | 1 | R60 200-00  |
| Mobile suction | 1 | 1 | - | - | 1 | R6 270-00 |
| Standing weight scale | 2 | 2 | - | 1 | - | R3 444.00 |
| TB- ISOLATION | Monitor  | 2 | 2 | - | - | 2 | R60 200-00  |
| Portable BP machine  | 1 | 1 | 1 | 1 | 1 | Cost not verified |
| Vacuum aspirator or suction machine | 1 | 1 | - | - | 1 | R6 384.00 |
| Battery operated weight scale | 1 | - | 1 | 1 | 1 | Cost not verified |
| Weight scale | 1 | 1 | - | 1 | 1 | Cost not verified |
| Defibrillator | 1 | 1 | - | 1 | 1 | R81 827.60 |
| Wall mounted ENT set | 1 | - | 1 | 1 | 1 | Cost not verified |
| Glucometer  | 1 | 1 | - | - | 1 | Cost not verified |
| Laryngoscope  | 1 | 1 | - | 1 | 1 | Cost not verified |
| Wall oxygen plus suctions | 1 | 1 | - | 1 | 1 | Cost not verified |
| DSPN | Data scope  | 2 | 1 | 1 | 1 | 1 | R68 784.82 |
| Portable BP machine | 1 | 1 | - | - | 1 | Cost not verified |
| Sitting scale | 1 | - | 1 | 1 | 1 | R5 500-00 |
| Glucometer | 2 | 2 | - | - | 2 | Cost not verified |
| ENT set | 1 | 1 | - | - | 1 | Cost not verified |
| Defibrillator | 1 | 1 | - | 1 | 1 | R81 827.60 |
| Wall oxygen and suction | 14 | 14 | - | - | 14 | Cost not verified |
| Portable suction machine | 1 | 1 | - | - | 1 | Cost not verified |
| Standing scale  | 1 | 1 | - | - | 1 | R3 444.00 |
| Standing height and weight scale | 1 | 1 | - | - | 1 | Cost not verified |
| ICU | Cardiac monitor  | 9 | 4 | 5 | 1 | 8 | 1 broken |
| Ventilator  | 5 | 3 | 2 | 2 | 3 | R172 000-00 EACH |
| ECG machine 12 heads | 2 | - | 2 | 1 | 1 | R99 997.22 |
| Patient warmer bair hugger | 1 | - | 1 | - | 1 | Cost not verified |

END.