

**DEPARTMENT: PUBLIC ENTERPRISES**

**REPUBLIC OF SOUTH AFRICA**

**NATIONAL ASSEMBLY**

**QUESTION FOR WRITTEN REPLY**

**QUESTION NO: 3735**

**DATE OF PUBLICATION: 16 OCTOBER 2015**

**Mr G Mackay (DA) to ask the Minister of Public Enterprises:**

(1) What has been Eskom’s total electricity (a) generation and (b) demand figures for each day since 30 November 2014; (2) was there a decrease in electricity (a) generation and (b) demand in the specified period; if so, what were the reasons for this decrease? NW4419E

**REPLY**

(1) Please take note of the following:

* Eskom generation in the Eskom context is the electricity sent out from Eskom power stations plus imports across the border, being mainly the Cahora Bassa imports.
* Customer demand in the Eskom context is the sum of Eskom generation, plus Independent Power Producer (IPP) generation (for IPPs selling their energy to Eskom, including renewables and some conventional generators), plus customer demand actions, being predominantly demand reduced either through contracted Demand Response or Interruptible Load Shedding; or load shedding.

(1)(a)

|  |  |
| --- | --- |
| Date | Eskom Generation(MWh) |
| 2014/11/30 | 578 756 |
| 2014/12/01 | 630 963 |
| 2014/12/02 | 638 433 |
| 2014/12/03 | 647 476 |
| 2014/12/04 | 635 984 |
| 2014/12/05 | 612 986 |
| 2014/12/06 | 573 580 |
| 2014/12/07 | 572 699 |
| 2014/12/08 | 627 606 |
| 2014/12/09 | 644 498 |
| 2014/12/10 | 642 123 |
| 2014/12/11 | 641 043 |
| 2014/12/12 | 629 450 |
| 2014/12/13 | 605 528 |
| 2014/12/14 | 581 021 |
| 2014/12/15 | 621 518 |
| 2014/12/16 | 610 679 |
| 2014/12/17 | 623 169 |
| 2014/12/18 | 625 738 |
| 2014/12/19 | 620 630 |
| 2014/12/20 | 584 394 |
| 2014/12/21 | 571 936 |
| 2014/12/22 | 602 037 |
| 2014/12/23 | 592 089 |
| 2014/12/24 | 580 135 |
| 2014/12/25 | 537 821 |
| 2014/12/26 | 529 268 |
| 2014/12/27 | 546 364 |
| 2014/12/28 | 545 398 |
| 2014/12/29 | 564 978 |
| 2014/12/30 | 567 027 |
| 2014/12/31 | 570 693 |
| 2015/01/01 | 534 303 |
| 2015/01/02 | 558 219 |
| 2015/01/03 | 567 233 |
| 2015/01/04 | 563 298 |
| 2015/01/05 | 604 698 |
| 2015/01/06 | 621 243 |
| 2015/01/07 | 632 390 |
| 2015/01/08 | 632 665 |
| 2015/01/09 | 633 088 |
| 2015/01/10 | 606 775 |
| 2015/01/11 | 594 196 |
| 2015/01/12 | 641 883 |
| 2015/01/13 | 659 696 |
| Date | Eskom Generation(MWh) |
| 2015/01/14 | 654 672 |
| 2015/01/15 | 653 681 |
| 2015/01/16 | 640 907 |
| 2015/01/17 | 609 410 |
| 2015/01/18 | 590 668 |
| 2015/01/19 | 646 069 |
| 2015/01/20 | 657 368 |
| 2015/01/21 | 661 808 |
| 2015/01/22 | 660 411 |
| 2015/01/23 | 657 848 |
| 2015/01/24 | 619 816 |
| 2015/01/25 | 606 225 |
| 2015/01/26 | 644 622 |
| 2015/01/27 | 648 116 |
| 2015/01/28 | 651 566 |
| 2015/01/29 | 659 784 |
| 2015/01/30 | 653 656 |
| 2015/01/31 | 611 674 |
| 2015/02/01 | 590 463 |
| 2015/02/02 | 639 638 |
| 2015/02/03 | 644 380 |
| 2015/02/04 | 641 530 |
| 2015/02/05 | 627 725 |
| 2015/02/06 | 635 242 |
| 2015/02/07 | 601 393 |
| 2015/02/08 | 590 178 |
| 2015/02/09 | 660 547 |
| 2015/02/10 | 674 361 |
| 2015/02/11 | 672 620 |
| 2015/02/12 | 684 395 |
| 2015/02/13 | 681 791 |
| 2015/02/14 | 609 675 |
| 2015/02/15 | 592 297 |
| 2015/02/16 | 659 581 |
| 2015/02/17 | 659 439 |
| 2015/02/18 | 660 731 |
| 2015/02/19 | 666 432 |
| 2015/02/20 | 669 626 |
| 2015/02/21 | 616 261 |
| 2015/02/22 | 603 605 |
| 2015/02/23 | 659 430 |
| 2015/02/24 | 671 780 |
| 2015/02/25 | 670 638 |
| 2015/02/26 | 646 383 |
| 2015/02/27 | 659 272 |
| 2015/02/28 | 614 049 |
| 2015/03/01 | 596 611 |
| Date | Eskom Generation(MWh) |
| 2015/03/02 | 646 139 |
| 2015/03/03 | 655 131 |
| 2015/03/04 | 653 905 |
| 2015/03/05 | 654 915 |
| 2015/03/06 | 659 595 |
| 2015/03/07 | 624 880 |
| 2015/03/08 | 604 260 |
| 2015/03/09 | 658 244 |
| 2015/03/10 | 663 519 |
| 2015/03/11 | 669 379 |
| 2015/03/12 | 665 825 |
| 2015/03/13 | 669 401 |
| 2015/03/14 | 632 138 |
| 2015/03/15 | 604 051 |
| 2015/03/16 | 654 986 |
| 2015/03/17 | 662 898 |
| 2015/03/18 | 666 691 |
| 2015/03/19 | 666 581 |
| 2015/03/20 | 665 638 |
| 2015/03/21 | 620 301 |
| 2015/03/22 | 614 278 |
| 2015/03/23 | 666 732 |
| 2015/03/24 | 670 772 |
| 2015/03/25 | 658 540 |
| 2015/03/26 | 646 774 |
| 2015/03/27 | 651 994 |
| 2015/03/28 | 613 534 |
| 2015/03/29 | 592 406 |
| 2015/03/30 | 645 184 |
| 2015/03/31 | 653 596 |
| 2015/04/01 | 644 047 |
| 2015/04/02 | 630 578 |
| 2015/04/03 | 573 625 |
| 2015/04/04 | 564 804 |
| 2015/04/05 | 550 425 |
| 2015/04/06 | 561 540 |
| 2015/04/07 | 623 087 |
| 2015/04/08 | 642 058 |
| 2015/04/09 | 649 858 |
| 2015/04/10 | 651 494 |
| 2015/04/11 | 617 225 |
| 2015/04/12 | 572 859 |
| 2015/04/13 | 623 971 |
| 2015/04/14 | 614 182 |
| 2015/04/15 | 607 088 |
| 2015/04/16 | 624 413 |
| 2015/04/17 | 623 214 |
| Date | Eskom Generation(MWh) |
| 2015/04/18 | 594 320 |
| 2015/04/19 | 590 557 |
| 2015/04/20 | 633 948 |
| 2015/04/21 | 644 856 |
| 2015/04/22 | 646 765 |
| 2015/04/23 | 644 561 |
| 2015/04/24 | 655 311 |
| 2015/04/25 | 607 875 |
| 2015/04/26 | 580 876 |
| 2015/04/27 | 598 433 |
| 2015/04/28 | 642 072 |
| 2015/04/29 | 640 837 |
| 2015/04/30 | 634 325 |
| 2015/05/01 | 592 895 |
| 2015/05/02 | 587 419 |
| 2015/05/03 | 591 139 |
| 2015/05/04 | 633 702 |
| 2015/05/05 | 644 061 |
| 2015/05/06 | 635 055 |
| 2015/05/07 | 645 770 |
| 2015/05/08 | 646 860 |
| 2015/05/09 | 602 641 |
| 2015/05/10 | 598 103 |
| 2015/05/11 | 653 257 |
| 2015/05/12 | 653 953 |
| 2015/05/13 | 649 259 |
| 2015/05/14 | 642 964 |
| 2015/05/15 | 647 772 |
| 2015/05/16 | 603 791 |
| 2015/05/17 | 581 184 |
| 2015/05/18 | 633 468 |
| 2015/05/19 | 645 843 |
| 2015/05/20 | 642 315 |
| 2015/05/21 | 626 664 |
| 2015/05/22 | 626 168 |
| 2015/05/23 | 594 155 |
| 2015/05/24 | 590 283 |
| 2015/05/25 | 646 513 |
| 2015/05/26 | 655 347 |
| 2015/05/27 | 658 980 |

|  |  |
| --- | --- |
| Date | Eskom Generation(MWh) |
| 2015/05/28 | 656 093 |
| 2015/05/29 | 647 941 |
| 2015/05/30 | 607 979 |
| 2015/05/31 | 597 922 |
| 2015/06/01 | 635 557 |
| 2015/06/02 | 651 258 |
| 2015/06/03 | 656 137 |
| 2015/06/04 | 666 278 |
| 2015/06/05 | 680 469 |
| 2015/06/06 | 656 803 |
| 2015/06/07 | 631 345 |
| 2015/06/08 | 669 208 |
| 2015/06/09 | 678 704 |
| 2015/06/10 | 685 050 |
| 2015/06/11 | 684 724 |
| 2015/06/12 | 662 137 |
| 2015/06/13 | 636 584 |
| 2015/06/14 | 611 143 |
| 2015/06/15 | 644 926 |
| 2015/06/16 | 625 905 |
| 2015/06/17 | 673 569 |
| 2015/06/18 | 679 072 |
| 2015/06/19 | 674 545 |
| 2015/06/20 | 640 561 |
| 2015/06/21 | 624 080 |
| 2015/06/22 | 663 906 |
| 2015/06/23 | 669 845 |
| 2015/06/24 | 666 918 |
| 2015/06/25 | 668 623 |
| 2015/06/26 | 662 240 |
| 2015/06/27 | 642 001 |
| 2015/06/28 | 598 845 |
| 2015/06/29 | 662 150 |
| 2015/06/30 | 678 103 |
| 2015/07/01 | 669 141 |
| 2015/07/02 | 670 101 |
| 2015/07/03 | 665 420 |
| 2015/07/04 | 632 214 |
| 2015/07/05 | 615 172 |
| 2015/07/06 | 654 321 |

|  |  |
| --- | --- |
| Date | Eskom Generation(MWh) |
| 2015/07/07 | 667 525 |
| 2015/07/08 | 663 161 |
| 2015/07/09 | 657 342 |
| 2015/07/10 | 653 336 |
| 2015/07/11 | 626 462 |
| 2015/07/12 | 606 680 |
| 2015/07/13 | 658 591 |
| 2015/07/14 | 674 178 |
| 2015/07/15 | 651 307 |
| 2015/07/16 | 657 591 |
| 2015/07/17 | 662 343 |
| 2015/07/18 | 634 578 |
| 2015/07/19 | 590 284 |
| 2015/07/20 | 649 609 |
| 2015/07/21 | 649 751 |
| 2015/07/22 | 668 486 |
| 2015/07/23 | 670 627 |
| 2015/07/24 | 658 947 |
| 2015/07/25 | 622 613 |
| 2015/07/26 | 609 759 |
| 2015/07/27 | 665 270 |
| 2015/07/28 | 671 639 |
| 2015/07/29 | 669 020 |
| 2015/07/30 | 657 291 |
| 2015/07/31 | 679 727 |
| 2015/08/01 | 637 311 |
| 2015/08/02 | 607 729 |
| 2015/08/03 | 636 299 |
| 2015/08/04 | 642 524 |
| 2015/08/05 | 651 050 |
| 2015/08/06 | 642 989 |
| 2015/08/07 | 646 820 |
| 2015/08/08 | 606 894 |
| 2015/08/09 | 583 584 |
| 2015/08/10 | 603 617 |
| 2015/08/11 | 657 160 |
| 2015/08/12 | 660 460 |
| 2015/08/13 | 646 812 |
| 2015/08/14 | 648 734 |
| 2015/08/15 | 602 957 |

|  |  |
| --- | --- |
| Date | Eskom Generation(MWh) |
| 2015/08/17 | 626 974 |
| 2015/08/18 | 635 440 |
| 2015/08/19 | 634 955 |
| 2015/08/20 | 632 887 |
| 2015/08/21 | 623 709 |
| 2015/08/22 | 596 125 |
| 2015/08/23 | 582 524 |
| 2015/08/24 | 616 890 |
| 2015/08/25 | 620 678 |
| 2015/08/26 | 624 544 |
| 2015/08/27 | 622 084 |
| 2015/08/28 | 610 296 |
| 2015/08/29 | 578 111 |
| 2015/08/30 | 570 841 |
| 2015/08/31 | 615 499 |
| 2015/09/01 | 622 811 |
| 2015/09/02 | 628 798 |
| 2015/09/03 | 637 396 |
| 2015/09/04 | 659 525 |
| 2015/09/05 | 624 540 |
| 2015/09/06 | 592 077 |
| 2015/09/07 | 627 980 |
| 2015/09/08 | 644 515 |
| 2015/09/09 | 636 993 |
| 2015/09/10 | 635 199 |
| 2015/09/11 | 638 149 |
| 2015/09/12 | 615 652 |
| 2015/09/13 | 586 444 |
| 2015/09/14 | 620 244 |
| 2015/09/15 | 633 865 |
| 2015/09/16 | 631 170 |
| 2015/09/17 | 631 164 |
| 2015/09/18 | 636 441 |
| 2015/09/19 | 606 490 |
| 2015/09/20 | 594 972 |
| 2015/09/21 | 644 197 |
| 2015/09/22 | 640 287 |
| 2015/09/23 | 631 009 |
| 2015/09/24 | 591 012 |
| 2015/09/25 | 610 111 |

|  |  |
| --- | --- |
| Date | Eskom Generation(MWh) |
| 2015/09/26 | 592 081 |
| 2015/09/27 | 571 277 |
| 2015/09/28 | 617 732 |
| 2015/09/29 | 642 341 |
| 2015/09/30 | 639 808 |
| 2015/10/01 | 634 253 |
| 2015/10/02 | 638 957 |
| 2015/10/03 | 604 244 |
| 2015/10/04 | 584 857 |
| 2015/10/05 | 630 257 |
| 2015/10/06 | 645 349 |
| 2015/10/07 | 645 239 |
| 2015/10/08 | 642 990 |
| 2015/10/09 | 638 493 |
| 2015/10/10 | 599 265 |
| 2015/10/11 | 586 398 |
| 2015/10/12 | 632 374 |
| 2015/10/13 | 640 141 |
| 2015/10/14 | 644 053 |
| 2015/10/15 | 634 139 |

(1)(b)

|  |  |
| --- | --- |
| Date | Customer Demand  MWh |
| 2014/11/30 | 614 773 |
| 2014/12/01 | 652 504 |
| 2014/12/02 | 658 698 |
| 2014/12/03 | 666 501 |
| 2014/12/04 | 667 600 |
| 2014/12/05 | 661 519 |
| 2014/12/06 | 631 278 |
| 2014/12/07 | 617 190 |
| 2014/12/08 | 659 295 |
| 2014/12/09 | 667 839 |
| 2014/12/10 | 662 811 |
| 2014/12/11 | 659 975 |
| 2014/12/12 | 651 849 |
| 2014/12/13 | 623 061 |
| 2014/12/14 | 602 952 |
| 2014/12/15 | 642 892 |

|  |  |
| --- | --- |
| Date | Customer Demand  MWh |
| 2014/12/16 | 630 796 |
| 2014/12/17 | 641 361 |
| 2014/12/18 | 646 228 |
| 2014/12/19 | 640 496 |
| 2014/12/20 | 604 096 |
| 2014/12/21 | 593 812 |
| 2014/12/22 | 620 334 |
| 2014/12/23 | 614 089 |
| 2014/12/24 | 599 689 |
| 2014/12/25 | 559 594 |
| 2014/12/26 | 549 761 |
| 2014/12/27 | 562 026 |
| 2014/12/28 | 562 926 |
| 2014/12/29 | 582 607 |
| 2014/12/30 | 590 377 |
| 2014/12/31 | 591 629 |
| 2015/01/01 | 552 386 |
| 2015/01/02 | 578 062 |
| 2015/01/03 | 584 390 |
| 2015/01/04 | 580 635 |
| 2015/01/05 | 624 267 |
| 2015/01/06 | 641 990 |
| 2015/01/07 | 650 941 |
| 2015/01/08 | 654 458 |
| 2015/01/09 | 658 410 |
| 2015/01/10 | 624 717 |
| 2015/01/11 | 611 978 |
| 2015/01/12 | 664 274 |
| 2015/01/13 | 678 964 |
| 2015/01/14 | 676 747 |
| 2015/01/15 | 674 977 |
| 2015/01/16 | 667 243 |
| 2015/01/17 | 628 761 |
| 2015/01/18 | 611 902 |
| 2015/01/19 | 668 597 |
| 2015/01/20 | 678 586 |
| 2015/01/21 | 682 946 |
| 2015/01/22 | 681 396 |
| 2015/01/23 | 677 922 |
| 2015/01/24 | 638 834 |

|  |  |
| --- | --- |
| Date | Customer Demand  MWh |
| 2015/01/25 | 623 534 |
| 2015/01/26 | 673 947 |
| 2015/01/27 | 681 891 |
| 2015/01/28 | 672 377 |
| 2015/01/29 | 676 011 |
| 2015/01/30 | 669 748 |
| 2015/01/31 | 630 383 |
| 2015/02/01 | 610 002 |
| 2015/02/02 | 660 164 |
| 2015/02/03 | 666 711 |
| 2015/02/04 | 681 407 |
| 2015/02/05 | 676 212 |
| 2015/02/06 | 674 520 |
| 2015/02/07 | 638 341 |
| 2015/02/08 | 625 706 |
| 2015/02/09 | 684 858 |
| 2015/02/10 | 696 146 |
| 2015/02/11 | 701 262 |
| 2015/02/12 | 704 915 |
| 2015/02/13 | 701 343 |
| 2015/02/14 | 662 979 |
| 2015/02/15 | 636 190 |
| 2015/02/16 | 678 073 |
| 2015/02/17 | 678 782 |
| 2015/02/18 | 683 821 |
| 2015/02/19 | 691 391 |
| 2015/02/20 | 690 313 |
| 2015/02/21 | 649 175 |
| 2015/02/22 | 629 863 |
| 2015/02/23 | 680 422 |
| 2015/02/24 | 690 519 |
| 2015/02/25 | 688 200 |
| 2015/02/26 | 693 423 |
| 2015/02/27 | 678 878 |
| 2015/02/28 | 632 385 |
| 2015/03/01 | 615 989 |
| 2015/03/02 | 669 051 |
| 2015/03/03 | 674 638 |
| 2015/03/04 | 675 675 |
| 2015/03/05 | 678 546 |

|  |  |
| --- | --- |
| Date | Customer Demand  MWh |
| 2015/03/06 | 678 138 |
| 2015/03/07 | 644 353 |
| 2015/03/08 | 622 464 |
| 2015/03/09 | 677 087 |
| 2015/03/10 | 685 801 |
| 2015/03/11 | 687 776 |
| 2015/03/12 | 688 292 |
| 2015/03/13 | 689 000 |
| 2015/03/14 | 650 059 |
| 2015/03/15 | 625 750 |
| 2015/03/16 | 677 776 |
| 2015/03/17 | 684 592 |
| 2015/03/18 | 686 001 |
| 2015/03/19 | 687 755 |
| 2015/03/20 | 682 914 |
| 2015/03/21 | 644 010 |
| 2015/03/22 | 630 664 |
| 2015/03/23 | 683 404 |
| 2015/03/24 | 687 956 |
| 2015/03/25 | 685 945 |
| 2015/03/26 | 690 873 |
| 2015/03/27 | 669 502 |
| 2015/03/28 | 632 650 |
| 2015/03/29 | 608 103 |
| 2015/03/30 | 661 626 |
| 2015/03/31 | 669 967 |
| 2015/04/01 | 668 627 |
| 2015/04/02 | 651 398 |
| 2015/04/03 | 594 235 |
| 2015/04/04 | 590 128 |
| 2015/04/05 | 579 514 |
| 2015/04/06 | 589 727 |
| 2015/04/07 | 655 740 |
| 2015/04/08 | 666 176 |
| 2015/04/09 | 672 502 |
| 2015/04/10 | 672 108 |
| 2015/04/11 | 637 678 |
| 2015/04/12 | 619 241 |
| 2015/04/13 | 663 577 |
| 2015/04/14 | 677 597 |

|  |  |
| --- | --- |
| Date | Customer Demand  MWh |
| 2015/04/15 | 677 271 |
| 2015/04/16 | 679 907 |
| 2015/04/17 | 671 634 |
| 2015/04/18 | 645 426 |
| 2015/04/19 | 630 322 |
| 2015/04/20 | 669 247 |
| 2015/04/21 | 679 860 |
| 2015/04/22 | 683 606 |
| 2015/04/23 | 679 504 |
| 2015/04/24 | 680 109 |
| 2015/04/25 | 635 071 |
| 2015/04/26 | 611 130 |
| 2015/04/27 | 624 250 |
| 2015/04/28 | 666 329 |
| 2015/04/29 | 668 547 |
| 2015/04/30 | 663 547 |
| 2015/05/01 | 617 955 |
| 2015/05/02 | 612 217 |
| 2015/05/03 | 617 004 |
| 2015/05/04 | 662 729 |
| 2015/05/05 | 679 554 |
| 2015/05/06 | 675 633 |
| 2015/05/07 | 686 368 |
| 2015/05/08 | 683 972 |
| 2015/05/09 | 653 427 |
| 2015/05/10 | 630 569 |
| 2015/05/11 | 680 763 |
| 2015/05/12 | 684 688 |
| 2015/05/13 | 683 584 |
| 2015/05/14 | 683 452 |
| 2015/05/15 | 680 843 |
| 2015/05/16 | 652 459 |
| 2015/05/17 | 627 987 |
| 2015/05/18 | 672 777 |
| 2015/05/19 | 682 316 |
| 2015/05/20 | 680 819 |
| 2015/05/21 | 684 597 |
| 2015/05/22 | 678 270 |
| 2015/05/23 | 649 686 |
| 2015/05/24 | 636 941 |

|  |  |
| --- | --- |
| Date | Customer Demand  MWh |
| 2015/05/25 | 680 562 |
| 2015/05/26 | 691 093 |
| 2015/05/27 | 689 785 |
| 2015/05/28 | 687 883 |
| 2015/05/29 | 678 297 |
| 2015/05/30 | 636 299 |
| 2015/05/31 | 624 217 |
| 2015/06/01 | 663 832 |
| 2015/06/02 | 678 966 |
| 2015/06/03 | 687 834 |
| 2015/06/04 | 699 092 |
| 2015/06/05 | 702 533 |
| 2015/06/06 | 677 867 |
| 2015/06/07 | 653 802 |
| 2015/06/08 | 694 948 |
| 2015/06/09 | 703 928 |
| 2015/06/10 | 716 499 |
| 2015/06/11 | 716 836 |
| 2015/06/12 | 714 953 |
| 2015/06/13 | 661 765 |
| 2015/06/14 | 640 077 |
| 2015/06/15 | 673 059 |
| 2015/06/16 | 650 032 |
| 2015/06/17 | 706 515 |
| 2015/06/18 | 711 768 |
| 2015/06/19 | 705 245 |
| 2015/06/20 | 669 921 |
| 2015/06/21 | 650 940 |
| 2015/06/22 | 697 149 |
| 2015/06/23 | 706 460 |
| 2015/06/24 | 706 658 |
| 2015/06/25 | 706 221 |
| 2015/06/26 | 697 005 |
| 2015/06/27 | 672 992 |
| 2015/06/28 | 651 838 |
| 2015/06/29 | 688 460 |
| 2015/06/30 | 698 407 |
| 2015/07/01 | 692 949 |
| 2015/07/02 | 693 312 |
| 2015/07/03 | 690 260 |

|  |  |
| --- | --- |
| Date | Customer Demand  MWh |
| 2015/07/04 | 653 354 |
| 2015/07/05 | 637 854 |
| 2015/07/06 | 679 880 |
| 2015/07/07 | 698 275 |
| 2015/07/08 | 692 722 |
| 2015/07/09 | 686 403 |
| 2015/07/10 | 682 469 |
| 2015/07/11 | 655 458 |
| 2015/07/12 | 635 239 |
| 2015/07/13 | 685 843 |
| 2015/07/14 | 698 754 |
| 2015/07/15 | 695 409 |
| 2015/07/16 | 691 166 |
| 2015/07/17 | 696 565 |
| 2015/07/18 | 660 855 |
| 2015/07/19 | 646 471 |
| 2015/07/20 | 683 527 |
| 2015/07/21 | 690 396 |
| 2015/07/22 | 699 851 |
| 2015/07/23 | 708 383 |
| 2015/07/24 | 701 131 |
| 2015/07/25 | 670 257 |
| 2015/07/26 | 651 721 |
| 2015/07/27 | 694 919 |
| 2015/07/28 | 700 715 |
| 2015/07/29 | 704 311 |
| 2015/07/30 | 698 663 |
| 2015/07/31 | 703 594 |
| 2015/08/01 | 661 007 |
| 2015/08/02 | 636 444 |
| 2015/08/03 | 682 407 |
| 2015/08/04 | 689 477 |
| 2015/08/05 | 692 994 |
| 2015/08/06 | 690 907 |
| 2015/08/07 | 678 144 |
| 2015/08/08 | 638 883 |
| 2015/08/09 | 614 219 |
| 2015/08/10 | 628 776 |
| 2015/08/11 | 681 094 |
| 2015/08/12 | 685 460 |

|  |  |
| --- | --- |
| Date | Customer Demand  MWh |
| 2015/08/13 | 679 649 |
| 2015/08/14 | 677 149 |
| 2015/08/15 | 634 823 |
| 2015/08/16 | 607 120 |
| 2015/08/17 | 652 403 |
| 2015/08/18 | 660 354 |
| 2015/08/19 | 657 677 |
| 2015/08/20 | 657 116 |
| 2015/08/21 | 647 200 |
| 2015/08/22 | 617 489 |
| 2015/08/23 | 604 102 |
| 2015/08/24 | 644 647 |
| 2015/08/25 | 645 891 |
| 2015/08/26 | 646 045 |
| 2015/08/27 | 644 655 |
| 2015/08/28 | 634 684 |
| 2015/08/29 | 601 424 |
| 2015/08/30 | 591 426 |
| 2015/08/31 | 632 223 |
| 2015/09/01 | 669 042 |
| 2015/09/02 | 676 263 |
| 2015/09/03 | 682 373 |
| 2015/09/04 | 700 260 |
| 2015/09/05 | 661 441 |
| 2015/09/06 | 636 233 |
| 2015/09/07 | 675 372 |
| 2015/09/08 | 687 079 |
| 2015/09/09 | 677 477 |
| 2015/09/10 | 678 821 |
| 2015/09/11 | 678 059 |
| 2015/09/12 | 653 847 |
| 2015/09/13 | 629 895 |
| 2015/09/14 | 670 489 |
| 2015/09/15 | 679 680 |
| 2015/09/16 | 675 104 |
| 2015/09/17 | 676 985 |
| 2015/09/18 | 682 142 |
| 2015/09/19 | 653 659 |
| 2015/09/20 | 637 410 |
| 2015/09/21 | 688 762 |

|  |  |
| --- | --- |
| Date | Customer Demand  MWh |
| 2015/09/22 | 683 341 |
| 2015/09/23 | 673 321 |
| 2015/09/24 | 633 573 |
| 2015/09/25 | 650 464 |
| 2015/09/26 | 629 960 |
| 2015/09/27 | 617 185 |
| 2015/09/28 | 661 945 |
| 2015/09/29 | 675 770 |
| 2015/09/30 | 675 378 |
| 2015/10/01 | 662 080 |
| 2015/10/02 | 665 036 |
| 2015/10/03 | 630 343 |
| 2015/10/04 | 611 024 |
| 2015/10/05 | 658 813 |
| 2015/10/06 | 669 966 |
| 2015/10/07 | 670 396 |
| 2015/10/08 | 668 657 |
| 2015/10/09 | 670 214 |
| 2015/10/10 | 633 378 |
| 2015/10/11 | 615 977 |
| 2015/10/12 | 662 540 |
| 2015/10/13 | 671 910 |
| 2015/10/14 | 673 013 |
| 2015/10/15 | 667 974 |

(2) It is very difficult to comment on the increase or decrease in the electricity generation or demand as the period from November 2014 to October 2015 includes all the seasons and tariff periods; and no comparative period is given. In general, the demand has been normal.

(2)(a) There is a trend of somewhat reducing Eskom generation during the specified period, as IPPs are able to replace some of the Eskom generation (most of them are currently self-dispatched) the reliance on Eskom generation is reducing.

(2)(b) There are no abnormal trends seen over the specified period. The customer demand varies significantly depending on the weather, winter demand being higher than summer demand. This is true for both residential and industrial customers.